## DIV 02
Chemical | [8 empty] | Concentration mM
Column | [8 empty] | Column
Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
A | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | A | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
B | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | B | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
C | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | C | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
D | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | D | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
E | Captan | Captan | Captan | Captan | Captan | Captan | Captan | Captan | E | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
F | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | F | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
Active Electrodes | [8 empty] | Mean spike rate of active electrodes
Column | Number of Active Electrodes | [7 empty] | Column
Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
A | [8 empty] | A
B | [8 empty] | B
C | [8 empty] | C
D | [8 empty] | D
E | [8 empty] | E
F | [8 empty] | F
Plate: | 1140-24
Ontogeny: | 2016-10-13

## DIV 05
Source File: | L:\Lab\NHEERL_MEA\PIP3 - Project\Data\NTP Compounds\20161013 Culture_REPEATS\Group 1 Compounds\ON_20161013_MW1140-24_05_00E(DARB)_spike_counts.csv
Creation date of source file: | 2018-05-01 07:29
Number of seconds in test: | 900 | s
Active electrode threshhold: | 5 | spikes/minute
Well name: | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8
Number of active electrodes: | 4 | 5 | 1 | 2 | 0 | 0 | 2 | 4 | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 2 | 1 | 2 | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | 4 | 2 | 3 | 0 | 1 | 0 | 1 | 3 | 1 | 1 | 3 | 0 | 4 | 0
Mean spike rate of active electrodes: | 50.367 | 16.48 | 33.533 | 24.7 | 0 | 0 | 42.467 | 25.633 | 0 | 0 | 36.178 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 45.6 | 36.733 | 6.2 | 21.467 | 21.4 | 13.5 | 70.422 | 8.867 | 0 | 0 | 0 | 8.533 | 0 | 21.033 | 31.467 | 0 | 84.55 | 19.667 | 7.2 | 0 | 5.2 | 0 | 7.2 | 12.133 | 9 | 13.267 | 14.822 | 0 | 26.95 | 0
| Chemical | [9 empty] | Concentration mM
| Column | [9 empty] | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid |  | A | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| B | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride |  | B | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| C | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF |  | C | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| D | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S |  | D | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| E | Captan | Captan | Captan | Captan | Captan | Captan | Captan | Captan |  | E | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| F | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate |  | F | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| Active Electrodes | [9 empty] | Mean spike rate of active electrodes
| Column | 1: Number of Active Electrodes |  | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | 4 | 5 | 1 | 2 | 0 | 0 | 2 | 4 |  | A | 50.367 | 16.48 | 33.533 | 24.7 | 0 | 0 | 42.467 | 25.633
| B | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 0 |  | B | 0 | 0 | 36.178 | 19 | 0 | 0 | 0 | 0
| C | 0 | 0 | 1 | 1 | 1 | 2 | 1 | 2 |  | C | 0 | 0 | 45.6 | 36.733 | 6.2 | 21.467 | 21.4 | 13.5
| D | 3 | 2 | 0 | 0 | 0 | 1 | 0 | 2 |  | D | 70.422 | 8.867 | 0 | 0 | 0 | 8.533 | 0 | 21.033
| E | 1 | 0 | 4 | 2 | 3 | 0 | 1 | 0 |  | E | 31.467 | 0 | 84.55 | 19.667 | 7.2 | 0 | 5.2 | 0
| F | 1 | 3 | 1 | 1 | 3 | 0 | 4 | 0 |  | F | 7.2 | 12.133 | 9 | 13.267 | 14.822 | 0 | 26.95 | 0
62

## DIV 07
Source File: | L:\Lab\NHEERL_MEA\PIP3 - Project\Data\NTP Compounds\20161013 Culture_REPEATS\Group 1 Compounds\ON_20161013_MW1140-24_07_00(000)_spike_counts_DARBr.csv
Creation date of source file: | 2016-11-10 10:58
Number of seconds in test: | 900 | s
Active electrode threshhold: | 5 | spikes/minute
Well name: | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8
Number of active electrodes: | 12 | 9 | 10 | 6 | 6 | 7 | 11 | 9 | 0 | 0 | 9 | 5 | 2 | 1 | 0 | 0 | 6 | 0 | 6 | 6 | 3 | 6 | 8 | 7 | 8 | 10 | 5 | 6 | 3 | 7 | 6 | 4 | 10 | 5 | 8 | 6 | 9 | 3 | 7 | 7 | 5 | 7 | 7 | 10 | 7 | 5 | 11 | 3
Mean spike rate of active electrodes: | 34.456 | 49.467 | 46.093 | 47.322 | 22.011 | 12.914 | 57.339 | 36.822 | 0 | 0 | 27.904 | 47.84 | 17.6 | 18.133 | 0 | 0 | 59.833 | 0 | 66.344 | 40.867 | 37.733 | 57.044 | 31.933 | 35.533 | 52.742 | 24.893 | 22.253 | 33.011 | 60.067 | 33.61 | 20.411 | 22.517 | 34.127 | 70.293 | 67.233 | 21.222 | 57.622 | 16.667 | 31.657 | 21.41 | 14.707 | 12.629 | 23.743 | 29.54 | 35.533 | 28.653 | 16.606 | 21.289
| Chemical | [9 empty] | Concentration mM
| Column | [9 empty] | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid |  | A | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| B | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride |  | B | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| C | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF |  | C | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| D | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S |  | D | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| E | Captan | Captan | Captan | Captan | Captan | Captan | Captan | Captan |  | E | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| F | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate |  | F | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| Active Electrodes | [9 empty] | Mean spike rate of active electrodes
| Column | 1: Number of Active Electrodes |  | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | 12 | 9 | 10 | 6 | 6 | 7 | 11 | 9 |  | A | 34.456 | 49.467 | 46.093 | 47.322 | 22.011 | 12.914 | 57.339 | 36.822
| B | 0 | 0 | 9 | 5 | 2 | 1 | 0 | 0 |  | B | 0 | 0 | 27.904 | 47.84 | 17.6 | 18.133 | 0 | 0
| C | 6 | 0 | 6 | 6 | 3 | 6 | 8 | 7 |  | C | 59.833 | 0 | 66.344 | 40.867 | 37.733 | 57.044 | 31.933 | 35.533
| D | 8 | 10 | 5 | 6 | 3 | 7 | 6 | 4 |  | D | 52.742 | 24.893 | 22.253 | 33.011 | 60.067 | 33.61 | 20.411 | 22.517
| E | 10 | 5 | 8 | 6 | 9 | 3 | 7 | 7 |  | E | 34.127 | 70.293 | 67.233 | 21.222 | 57.622 | 16.667 | 31.657 | 21.41
| F | 5 | 7 | 7 | 10 | 7 | 5 | 11 | 3 |  | F | 14.707 | 12.629 | 23.743 | 29.54 | 35.533 | 28.653 | 16.606 | 21.289
288

## DIV 09
Source File: | L:\Lab\NHEERL_MEA\PIP3 - Project\Data\NTP Compounds\20161013 Culture_REPEATS\Group 1 Compounds\ON_20161013_MW1140-24_09_00(000)_spike_counts_DARBr.csv
Creation date of source file: | 2016-11-10 10:58
Number of seconds in test: | 902 | s
Active electrode threshhold: | 5 | spikes/minute
Well name: | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8
Number of active electrodes: | 14 | 16 | 16 | 15 | 14 | 15 | 14 | 16 | 0 | 0 | 14 | 13 | 7 | 3 | 0 | 0 | 15 | 0 | 8 | 7 | 8 | 11 | 12 | 16 | 14 | 14 | 12 | 11 | 13 | 11 | 10 | 12 | 14 | 8 | 11 | 10 | 13 | 5 | 10 | 16 | 14 | 10 | 16 | 15 | 13 | 14 | 15 | 14
Mean spike rate of active electrodes: | 83.809 | 68.884 | 66.203 | 61.419 | 74.591 | 50.377 | 84.959 | 66.323 | 0 | 0 | 66.889 | 37.685 | 24.669 | 30.909 | 0 | 0 | 64.865 | 0 | 62.12 | 23.339 | 43.196 | 33.501 | 49.972 | 40.934 | 66.414 | 49.485 | 38.88 | 36.797 | 31.755 | 56.928 | 48.18 | 46.103 | 66.97 | 40.086 | 49.405 | 37.297 | 49.372 | 30.971 | 49.43 | 57.256 | 52.545 | 38.361 | 64.128 | 83.552 | 57.672 | 47.48 | 51.561 | 37.393
| Chemical | [9 empty] | Concentration mM
| Column | [9 empty] | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid |  | A | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| B | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride |  | B | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| C | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF |  | C | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| D | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S |  | D | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| E | Captan | Captan | Captan | Captan | Captan | Captan | Captan | Captan |  | E | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| F | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate |  | F | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| Active Electrodes | [9 empty] | Mean spike rate of active electrodes
| Column | 1: Number of Active Electrodes |  | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | 14 | 16 | 16 | 15 | 14 | 15 | 14 | 16 |  | A | 83.809 | 68.884 | 66.203 | 61.419 | 74.591 | 50.377 | 84.959 | 66.323
| B | 0 | 0 | 14 | 13 | 7 | 3 | 0 | 0 |  | B | 0 | 0 | 66.889 | 37.685 | 24.669 | 30.909 | 0 | 0
| C | 15 | 0 | 8 | 7 | 8 | 11 | 12 | 16 |  | C | 64.865 | 0 | 62.12 | 23.339 | 43.196 | 33.501 | 49.972 | 40.934
| D | 14 | 14 | 12 | 11 | 13 | 11 | 10 | 12 |  | D | 66.414 | 49.485 | 38.88 | 36.797 | 31.755 | 56.928 | 48.18 | 46.103
| E | 14 | 8 | 11 | 10 | 13 | 5 | 10 | 16 |  | E | 66.97 | 40.086 | 49.405 | 37.297 | 49.372 | 30.971 | 49.43 | 57.256
| F | 14 | 10 | 16 | 15 | 13 | 14 | 15 | 14 |  | F | 52.545 | 38.361 | 64.128 | 83.552 | 57.672 | 47.48 | 51.561 | 37.393

## DIV 12
Source File: | L:\Lab\NHEERL_MEA\PIP3 - Project\Data\NTP Compounds\20161013 Culture_REPEATS\Group 1 Compounds\ON_20161013_MW1140-24_12_00(000)_spike_counts_DARBr.csv
Creation date of source file: | 2016-11-10 10:58
Number of seconds in test: | 901 | s
Active electrode threshhold: | 5 | spikes/minute
Well name: | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8
Number of active electrodes: | 14 | 16 | 16 | 16 | 16 | 16 | 15 | 16 | 0 | 0 | 14 | 14 | 8 | 2 | 0 | 0 | 16 | 7 | 13 | 11 | 12 | 14 | 13 | 16 | 15 | 16 | 15 | 14 | 15 | 15 | 13 | 15 | 16 | 12 | 14 | 13 | 16 | 9 | 10 | 16 | 15 | 12 | 16 | 16 | 16 | 14 | 16 | 16
Mean spike rate of active electrodes: | 68.086 | 91.81 | 78.259 | 76.627 | 106.773 | 90.008 | 76.018 | 91.19 | 0 | 0 | 115.082 | 72.343 | 20.053 | 25.605 | 0 | 0 | 108.334 | 32.107 | 87.257 | 68.639 | 55.111 | 66.383 | 65.881 | 79.803 | 68.195 | 73.943 | 83.671 | 66.521 | 101.163 | 73.314 | 117.69 | 90.752 | 122.372 | 95 | 59.401 | 87.026 | 87.636 | 68.79 | 58.788 | 46.003 | 57.834 | 31.565 | 72.232 | 62.872 | 72.024 | 81.048 | 77.676 | 38.228
| Chemical | [9 empty] | Concentration mM
| Column | [9 empty] | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid |  | A | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| B | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride |  | B | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| C | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF |  | C | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| D | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S |  | D | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| E | Captan | Captan | Captan | Captan | Captan | Captan | Captan | Captan |  | E | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| F | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate |  | F | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| Active Electrodes | [9 empty] | Mean spike rate of active electrodes
| Column | 1: Number of Active Electrodes |  | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | 14 | 16 | 16 | 16 | 16 | 16 | 15 | 16 |  | A | 68.086 | 91.81 | 78.259 | 76.627 | 106.773 | 90.008 | 76.018 | 91.19
| B | 0 | 0 | 14 | 14 | 8 | 2 | 0 | 0 |  | B | 0 | 0 | 115.082 | 72.343 | 20.053 | 25.605 | 0 | 0
| C | 16 | 7 | 13 | 11 | 12 | 14 | 13 | 16 |  | C | 108.334 | 32.107 | 87.257 | 68.639 | 55.111 | 66.383 | 65.881 | 79.803
| D | 15 | 16 | 15 | 14 | 15 | 15 | 13 | 15 |  | D | 68.195 | 73.943 | 83.671 | 66.521 | 101.163 | 73.314 | 117.69 | 90.752
| E | 16 | 12 | 14 | 13 | 16 | 9 | 10 | 16 |  | E | 122.372 | 95 | 59.401 | 87.026 | 87.636 | 68.79 | 58.788 | 46.003
| F | 15 | 12 | 16 | 16 | 16 | 14 | 16 | 16 |  | F | 57.834 | 31.565 | 72.232 | 62.872 | 72.024 | 81.048 | 77.676 | 38.228

## BIC
Chemical | [8 empty] | Concentration mM
Column | [8 empty] | Column
Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
A | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | A | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
B | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | B | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
C | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | C | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
D | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | D | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
E | Captan | Captan | Captan | Captan | Captan | Captan | Captan | Captan | E | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
F | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | F | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
Active Electrodes | [8 empty] | Mean spike rate of active electrodes
Column | Number of Active Electrodes | [7 empty] | Column
Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Alamar Blue
| Chemical | [9 empty] | Concentration mM
| Column | [9 empty] | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid |  | A | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| B | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride |  | B | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| C | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF |  | C | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| D | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S |  | D | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| E | Captan | Captan | Captan | Captan | Captan | Captan | Captan | Captan |  | E | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| F | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate |  | F | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| Raw Data | [9 empty] | Percent of Control
| Column | [9 empty] | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | 24941 | 22733 | 25408 | 26506 | 25033 | 24002 | 25742 | 27657 |  | A | 88.62% | 77.69% | 90.93% | 96.36% | 89.07% | 83.97% | 92.58% | 102.1%
| B | 7227 | 7329 | 26184 | 25282 | 21890 | 18475 | 12206 | 9197 |  | B | 0.9437% | 1.449% | 94.77% | 90.3% | 73.52% | 56.61% | 25.59% | 10.69%
| C | 23341 | 14884 | 27583 | 25799 | 24347 | 26354 | 27081 | 28225 |  | C | 80.7% | 38.84% | 101.7% | 92.86% | 85.68% | 95.61% | 99.21% | 104.9%
| D | 26905 | 25450 | 25337 | 25355 | 23062 | 25743 | 25073 | 27430 |  | D | 98.34% | 91.14% | 90.58% | 90.67% | 79.32% | 92.59% | 89.27% | 100.9%
| E | 24247 | 18148 | 27745 | 26445 | 24355 | 24368 | 26955 | 28830 |  | E | 85.18% | 55% | 102.5% | 96.06% | 85.72% | 85.78% | 98.58% | 107.9%
| F | 27123 | 26897 | 31189 | 27667 | 25688 | 25945 | 28247 | 29108 |  | F | 99.42% | 98.3% | 119.5% | 102.1% | 92.31% | 93.59% | 105% | 109.2%
|  | 6979 | 7038 | 7092
Corrected for Blank
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | 17904.6667 | 15696.6667 | 18371.6667 | 19469.6667 | 17996.6667 | 16965.6667 | 18705.6667 | 20620.6667
| B | 190.6667 | 292.6667 | 19147.6667 | 18245.6667 | 14853.6667 | 11438.6667 | 5169.6667 | 2160.6667
| C | 16304.6667 | 7847.6667 | 20546.6667 | 18762.6667 | 17310.6667 | 19317.6667 | 20044.6667 | 21188.6667
| D | 19868.6667 | 18413.6667 | 18300.6667 | 18318.6667 | 16025.6667 | 18706.6667 | 18036.6667 | 20393.6667
| E | 17210.6667 | 11111.6667 | 20708.6667 | 19408.6667 | 17318.6667 | 17331.6667 | 19918.6667 | 21793.6667
| F | 20086.6667 | 19860.6667 | 24152.6667 | 20630.6667 | 18651.6667 | 18908.6667 | 21210.6667 | 22071.6667
User: MUNDY |  | 2: Path: C:\Program Files\BMG\FLUOoptima\Mundy\Data\ | Test ID: 1538
Test Name: CELL TITER BLUE |  | 7: Date: 10/25/2016 | Time: 11:23:04 AM
ID1: ON_20161013_MW1140-24_12_AB
ID2: Group 1 Plate 2
ID3: Gain 1380
Fluorescence (FI)
Raw Data (544, 590)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 24941 | 22733 | 25408 | 26506 | 25033 | 24002 | 25742 | 27657 | 2277 | 2219 | 2228 | 2242
B | 7227 | 7329 | 26184 | 25282 | 21890 | 18475 | 12206 | 9197 | 2318 | 2269 | 2322 | 2309
C | 23341 | 14884 | 27583 | 25799 | 24347 | 26354 | 27081 | 28225 | 2267 | 2312 | 2290 | 2363
D | 26905 | 25450 | 25337 | 25355 | 23062 | 25743 | 25073 | 27430 | 2347 | 2350 | 2381 | 2403
E | 24247 | 18148 | 27745 | 26445 | 24355 | 24368 | 26955 | 28830 | 2409 | 2404 | 2384 | 2378
F | 27123 | 26897 | 31189 | 27667 | 25688 | 25945 | 28247 | 29108 | 2328 | 2425 | 2342 | 2353
G | 6979 | 7038 | 7092 | 2278 | 2283 | 2337 | 2318 | 2326 | 2384 | 2321 | 2363 | 2310
H | 2227 | 2239 | 2203 | 2116 | 2162 | 2243 | 2324 | 2287 | 2205 | 2322 | 2322 | 2224

## Total LDH
| Chemical | [9 empty] | Concentration mM
| Column | [9 empty] | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid | Acetylsalicylic acid |  | A | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| B | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride | Berberine chloride |  | B | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| C | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF | Bisphenol AF |  | C | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| D | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S | Bisphenol S |  | D | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| E | Captan | Captan | Captan | Captan | Captan | Captan | Captan | Captan |  | E | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| F | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate | Di(2-ethylhexyl) phthalate |  | F | 10 | 20 | 0 | 0.03 | 0.1 | 0.3 | 1 | 3
| Raw Data | [9 empty] | Percent of Control
| Column | [9 empty] | Column
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | 0.7583 | 1.2117 | 0.9907 | 0.9262 | 0.981 | 0.9889 | 1.0363 | 1.1005 |  | A | 73.17% | 120.5% | 97.42% | 90.69% | 96.41% | 97.23% | 102.2% | 108.9%
| B | 0.136 | 0.1763 | 1.1247 | 1.0768 | 0.3527 | 0.2493 | 0.1817 | 0.1526 |  | B | 8.255% | 12.46% | 111.4% | 106.4% | 30.86% | 20.07% | 13.02% | 9.987%
| C | 0.6579 | 0.4274 | 1.1574 | 1.1033 | 1.0792 | 1.0956 | 1.2197 | 1.0203 |  | C | 62.7% | 38.65% | 114.8% | 109.2% | 106.7% | 108.4% | 121.3% | 100.5%
| D | 0.8027 | 1.2136 | 1.044 | 1.0676 | 1.1062 | 1.0424 | 1.0669 | 1.1375 |  | D | 77.81% | 120.7% | 103% | 105.4% | 109.5% | 102.8% | 105.4% | 112.7%
| E | 0.7812 | 0.7886 | 0.9412 | 1.0643 | 1.1021 | 1.0472 | 1.1027 | 1.0824 |  | E | 75.56% | 76.33% | 92.25% | 105.1% | 109% | 103.3% | 109.1% | 107%
| F | 1.0878 | 1.0883 | 0.8347 | 0.9325 | 0.8592 | 1.1958 | 1.0751 | 0.9636 |  | F | 107.5% | 107.6% | 81.14% | 91.35% | 83.7% | 118.8% | 106.2% | 94.59%
|  | 0.0561 | 0.0573 | 0.0572
Corrected for Blank
| Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| A | 0.70143 | 1.1548 | 0.93383 | 0.86933 | 0.92413 | 0.93203 | 0.97943 | 1.0436
| B | 0.079133 | 0.11943 | 1.0678 | 1.0199 | 0.29583 | 0.19243 | 0.12483 | 0.095733
| C | 0.60103 | 0.37053 | 1.1005 | 1.0464 | 1.0223 | 1.0387 | 1.1628 | 0.96343
| D | 0.74583 | 1.1567 | 0.98713 | 1.0107 | 1.0493 | 0.98553 | 1.01 | 1.0806
| E | 0.72433 | 0.73173 | 0.88433 | 1.0074 | 1.0452 | 0.99033 | 1.0458 | 1.0255
| F | 1.0309 | 1.0314 | 0.77783 | 0.87563 | 0.80233 | 1.1389 | 1.0182 | 0.90673
Plate | 1140-24
Temp(°C) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.7583 | 1.2117 | 0.9907 | 0.9262 | 0.981 | 0.9889 | 1.0363 | 1.1005 | 0.0477 | 0.0478 | 0.0476 | 0.0476
| B | 0.136 | 0.1763 | 1.1247 | 1.0768 | 0.3527 | 0.2493 | 0.1817 | 0.1526 | 0.0473 | 0.046 | 0.0478 | 0.0474
| C | 0.6579 | 0.4274 | 1.1574 | 1.1033 | 1.0792 | 1.0956 | 1.2197 | 1.0203 | 0.0475 | 0.0471 | 0.047 | 0.0473
| D | 0.8027 | 1.2136 | 1.044 | 1.0676 | 1.1062 | 1.0424 | 1.0669 | 1.1375 | 0.0475 | 0.0476 | 0.0473 | 0.0477
| E | 0.7812 | 0.7886 | 0.9412 | 1.0643 | 1.1021 | 1.0472 | 1.1027 | 1.0824 | 0.0475 | 0.0474 | 0.0475 | 0.0473
| F | 1.0878 | 1.0883 | 0.8347 | 0.9325 | 0.8592 | 1.1958 | 1.0751 | 0.9636 | 0.0474 | 0.0471 | 0.0477 | 0.0471
| G | 0.0561 | 0.0573 | 0.0572 | 2.9455 | 2.0558 | 0.048 | 0.0482 | 0.0478 | 0.0476 | 0.0474 | 0.0475 | 0.0487
| H | 0.0464 | 0.0475 | 0.0473 | 0.0473 | 0.0473 | 0.0472 | 0.0474 | 0.0471 | 0.0474 | 0.0474 | 0.0475 | 0.0471

## Summary
Summary of Results from 10/13/16 Ontogeny MEA Plate 1140-24
|  | Active Electrodes | [10 empty] | Mean Firing Rate
| Chemical | Conc (mM) | DIV 02 | DIV 05 | DIV 07 | DIV 09 | DIV 12 | BIC | Plate | Date | DIV | Chemical | Conc (mM) | DIV 02 | DIV 05 | DIV 07 | DIV 09 | DIV 12 | BIC | Survival AB | Survival LDH | Chemical | Conc (mM)
A1 | Acetylsalicylic acid | 10 | 0 | 4 | 12 | 14 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 10 | 0 | 50.367 | 34.456 | 83.809 | 68.086 | 0 | 88.62% | 73.17% | Acetylsalicylic acid | 10
A2 | Acetylsalicylic acid | 20 | 0 | 5 | 9 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 20 | 0 | 16.48 | 49.467 | 68.884 | 91.81 | 0 | 77.69% | 120.5% | Acetylsalicylic acid | 20
A3 | Acetylsalicylic acid | 0 | 0 | 1 | 10 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 0 | 0 | 33.533 | 46.093 | 66.203 | 78.259 | 0 | 90.93% | 97.42% | Acetylsalicylic acid | 0
A4 | Acetylsalicylic acid | 0.03 | 0 | 2 | 6 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 0.03 | 0 | 24.7 | 47.322 | 61.419 | 76.627 | 0 | 96.36% | 90.69% | Acetylsalicylic acid | 0.03
A5 | Acetylsalicylic acid | 0.1 | 0 | 0 | 6 | 14 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 0.1 | 0 | 0 | 22.011 | 74.591 | 106.773 | 0 | 89.07% | 96.41% | Acetylsalicylic acid | 0.1
A6 | Acetylsalicylic acid | 0.3 | 0 | 0 | 7 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 0.3 | 0 | 0 | 12.914 | 50.377 | 90.008 | 0 | 83.97% | 97.23% | Acetylsalicylic acid | 0.3
A7 | Acetylsalicylic acid | 1 | 0 | 2 | 11 | 14 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 1 | 0 | 42.467 | 57.339 | 84.959 | 76.018 | 0 | 92.58% | 102.2% | Acetylsalicylic acid | 1
A8 | Acetylsalicylic acid | 3 | 0 | 4 | 9 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 3 | 0 | 25.633 | 36.822 | 66.323 | 91.19 | 0 | 102.1% | 108.9% | Acetylsalicylic acid | 3
B1 | Berberine chloride | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9437% | 8.255% | Berberine chloride | 10
B2 | Berberine chloride | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1.449% | 12.46% | Berberine chloride | 20
B3 | Berberine chloride | 0 | 0 | 3 | 9 | 14 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 0 | 0 | 36.178 | 27.904 | 66.889 | 115.082 | 0 | 94.77% | 111.4% | Berberine chloride | 0
B4 | Berberine chloride | 0.03 | 0 | 1 | 5 | 13 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 0.03 | 0 | 19 | 47.84 | 37.685 | 72.343 | 0 | 90.3% | 106.4% | Berberine chloride | 0.03
B5 | Berberine chloride | 0.1 | 0 | 0 | 2 | 7 | 8 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 0.1 | 0 | 0 | 17.6 | 24.669 | 20.053 | 0 | 73.52% | 30.86% | Berberine chloride | 0.1
B6 | Berberine chloride | 0.3 | 0 | 0 | 1 | 3 | 2 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 0.3 | 0 | 0 | 18.133 | 30.909 | 25.605 | 0 | 56.61% | 20.07% | Berberine chloride | 0.3
B7 | Berberine chloride | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 25.59% | 13.02% | Berberine chloride | 1
B8 | Berberine chloride | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 10.69% | 9.987% | Berberine chloride | 3
C1 | Bisphenol AF | 10 | 0 | 0 | 6 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 10 | 0 | 0 | 59.833 | 64.865 | 108.334 | 0 | 80.7% | 62.7% | Bisphenol AF | 10
C2 | Bisphenol AF | 20 | 0 | 0 | 0 | 0 | 7 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 20 | 0 | 0 | 0 | 0 | 32.107 | 0 | 38.84% | 38.65% | Bisphenol AF | 20
C3 | Bisphenol AF | 0 | 0 | 1 | 6 | 8 | 13 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 0 | 0 | 45.6 | 66.344 | 62.12 | 87.257 | 0 | 101.7% | 114.8% | Bisphenol AF | 0
C4 | Bisphenol AF | 0.03 | 0 | 1 | 6 | 7 | 11 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 0.03 | 0 | 36.733 | 40.867 | 23.339 | 68.639 | 0 | 92.86% | 109.2% | Bisphenol AF | 0.03
C5 | Bisphenol AF | 0.1 | 0 | 1 | 3 | 8 | 12 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 0.1 | 0 | 6.2 | 37.733 | 43.196 | 55.111 | 0 | 85.68% | 106.7% | Bisphenol AF | 0.1
C6 | Bisphenol AF | 0.3 | 0 | 2 | 6 | 11 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 0.3 | 0 | 21.467 | 57.044 | 33.501 | 66.383 | 0 | 95.61% | 108.4% | Bisphenol AF | 0.3
C7 | Bisphenol AF | 1 | 0 | 1 | 8 | 12 | 13 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 1 | 0 | 21.4 | 31.933 | 49.972 | 65.881 | 0 | 99.21% | 121.3% | Bisphenol AF | 1
C8 | Bisphenol AF | 3 | 0 | 2 | 7 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 3 | 0 | 13.5 | 35.533 | 40.934 | 79.803 | 0 | 104.9% | 100.5% | Bisphenol AF | 3
D1 | Bisphenol S | 10 | 0 | 3 | 8 | 14 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 10 | 0 | 70.422 | 52.742 | 66.414 | 68.195 | 0 | 98.34% | 77.81% | Bisphenol S | 10
D2 | Bisphenol S | 20 | 0 | 2 | 10 | 14 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 20 | 0 | 8.867 | 24.893 | 49.485 | 73.943 | 0 | 91.14% | 120.7% | Bisphenol S | 20
D3 | Bisphenol S | 0 | 0 | 0 | 5 | 12 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 0 | 0 | 0 | 22.253 | 38.88 | 83.671 | 0 | 90.58% | 103% | Bisphenol S | 0
D4 | Bisphenol S | 0.03 | 0 | 0 | 6 | 11 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 0.03 | 0 | 0 | 33.011 | 36.797 | 66.521 | 0 | 90.67% | 105.4% | Bisphenol S | 0.03
D5 | Bisphenol S | 0.1 | 0 | 0 | 3 | 13 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 0.1 | 0 | 0 | 60.067 | 31.755 | 101.163 | 0 | 79.32% | 109.5% | Bisphenol S | 0.1
D6 | Bisphenol S | 0.3 | 0 | 1 | 7 | 11 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 0.3 | 0 | 8.533 | 33.61 | 56.928 | 73.314 | 0 | 92.59% | 102.8% | Bisphenol S | 0.3
D7 | Bisphenol S | 1 | 0 | 0 | 6 | 10 | 13 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 1 | 0 | 0 | 20.411 | 48.18 | 117.69 | 0 | 89.27% | 105.4% | Bisphenol S | 1
D8 | Bisphenol S | 3 | 0 | 2 | 4 | 12 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 3 | 0 | 21.033 | 22.517 | 46.103 | 90.752 | 0 | 100.9% | 112.7% | Bisphenol S | 3
E1 | Captan | 10 | 0 | 1 | 10 | 14 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 10 | 0 | 31.467 | 34.127 | 66.97 | 122.372 | 0 | 85.18% | 75.56% | Captan | 10
E2 | Captan | 20 | 0 | 0 | 5 | 8 | 12 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 20 | 0 | 0 | 70.293 | 40.086 | 95 | 0 | 55% | 76.33% | Captan | 20
E3 | Captan | 0 | 0 | 4 | 8 | 11 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 0 | 0 | 84.55 | 67.233 | 49.405 | 59.401 | 0 | 102.5% | 92.25% | Captan | 0
E4 | Captan | 0.03 | 0 | 2 | 6 | 10 | 13 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 0.03 | 0 | 19.667 | 21.222 | 37.297 | 87.026 | 0 | 96.06% | 105.1% | Captan | 0.03
E5 | Captan | 0.1 | 0 | 3 | 9 | 13 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 0.1 | 0 | 7.2 | 57.622 | 49.372 | 87.636 | 0 | 85.72% | 109% | Captan | 0.1
E6 | Captan | 0.3 | 0 | 0 | 3 | 5 | 9 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 0.3 | 0 | 0 | 16.667 | 30.971 | 68.79 | 0 | 85.78% | 103.3% | Captan | 0.3
E7 | Captan | 1 | 0 | 1 | 7 | 10 | 10 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 1 | 0 | 5.2 | 31.657 | 49.43 | 58.788 | 0 | 98.58% | 109.1% | Captan | 1
E8 | Captan | 3 | 0 | 0 | 7 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 3 | 0 | 0 | 21.41 | 57.256 | 46.003 | 0 | 107.9% | 107% | Captan | 3
F1 | Di(2-ethylhexyl) phthalate | 10 | 0 | 1 | 5 | 14 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 10 | 0 | 7.2 | 14.707 | 52.545 | 57.834 | 0 | 99.42% | 107.5% | Di(2-ethylhexyl) phthalate | 10
F2 | Di(2-ethylhexyl) phthalate | 20 | 0 | 3 | 7 | 10 | 12 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 20 | 0 | 12.133 | 12.629 | 38.361 | 31.565 | 0 | 98.3% | 107.6% | Di(2-ethylhexyl) phthalate | 20
F3 | Di(2-ethylhexyl) phthalate | 0 | 0 | 1 | 7 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 0 | 0 | 9 | 23.743 | 64.128 | 72.232 | 0 | 119.5% | 81.14% | Di(2-ethylhexyl) phthalate | 0
F4 | Di(2-ethylhexyl) phthalate | 0.03 | 0 | 1 | 10 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 0.03 | 0 | 13.267 | 29.54 | 83.552 | 62.872 | 0 | 102.1% | 91.35% | Di(2-ethylhexyl) phthalate | 0.03
F5 | Di(2-ethylhexyl) phthalate | 0.1 | 0 | 3 | 7 | 13 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 0.1 | 0 | 14.822 | 35.533 | 57.672 | 72.024 | 0 | 92.31% | 83.7% | Di(2-ethylhexyl) phthalate | 0.1
F6 | Di(2-ethylhexyl) phthalate | 0.3 | 0 | 0 | 5 | 14 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 0.3 | 0 | 0 | 28.653 | 47.48 | 81.048 | 0 | 93.59% | 118.8% | Di(2-ethylhexyl) phthalate | 0.3
F7 | Di(2-ethylhexyl) phthalate | 1 | 0 | 4 | 11 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 1 | 0 | 26.95 | 16.606 | 51.561 | 77.676 | 0 | 105% | 106.2% | Di(2-ethylhexyl) phthalate | 1
F8 | Di(2-ethylhexyl) phthalate | 3 | 0 | 0 | 3 | 14 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 3 | 0 | 0 | 21.289 | 37.393 | 38.228 | 0 | 109.2% | 94.59% | Di(2-ethylhexyl) phthalate | 3

## Prism Data
Summary of Results from 10/13/16 Ontogeny MEA Plate 1140-24 | [11 empty] | 0
| Active Electrodes | [10 empty] | Mean Firing Rate
Chemical | Conc (mM) | DIV 02 | DIV 05 | DIV 07 | DIV 09 | DIV 12 | BIC | Plate | Date | DIV | Chemical | Conc (mM) | DIV 02 | DIV 05 | DIV 07 | DIV 09 | DIV 12 | BIC | Survival AB
Acetylsalicylic acid | 10 | 0 | 4 | 12 | 14 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 10 | 0 | 50.367 | 34.456 | 83.809 | 68.086 | 0 | 88.62%
Acetylsalicylic acid | 20 | 0 | 5 | 9 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 20 | 0 | 16.48 | 49.467 | 68.884 | 91.81 | 0 | 77.69%
Acetylsalicylic acid | 0 | 0 | 1 | 10 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 0 | 0 | 33.533 | 46.093 | 66.203 | 78.259 | 0 | 90.93%
Acetylsalicylic acid | 0.03 | 0 | 2 | 6 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 0.03 | 0 | 24.7 | 47.322 | 61.419 | 76.627 | 0 | 96.36%
Acetylsalicylic acid | 0.1 | 0 | 0 | 6 | 14 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 0.1 | 0 | 0 | 22.011 | 74.591 | 106.773 | 0 | 89.07%
Acetylsalicylic acid | 0.3 | 0 | 0 | 7 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 0.3 | 0 | 0 | 12.914 | 50.377 | 90.008 | 0 | 83.97%
Acetylsalicylic acid | 1 | 0 | 2 | 11 | 14 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 1 | 0 | 42.467 | 57.339 | 84.959 | 76.018 | 0 | 92.58%
Acetylsalicylic acid | 3 | 0 | 4 | 9 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Acetylsalicylic acid | 3 | 0 | 25.633 | 36.822 | 66.323 | 91.19 | 0 | 102.1%
Berberine chloride | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9437%
Berberine chloride | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1.449%
Berberine chloride | 0 | 0 | 3 | 9 | 14 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 0 | 0 | 36.178 | 27.904 | 66.889 | 115.082 | 0 | 94.77%
Berberine chloride | 0.03 | 0 | 1 | 5 | 13 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 0.03 | 0 | 19 | 47.84 | 37.685 | 72.343 | 0 | 90.3%
Berberine chloride | 0.1 | 0 | 0 | 2 | 7 | 8 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 0.1 | 0 | 0 | 17.6 | 24.669 | 20.053 | 0 | 73.52%
Berberine chloride | 0.3 | 0 | 0 | 1 | 3 | 2 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 0.3 | 0 | 0 | 18.133 | 30.909 | 25.605 | 0 | 56.61%
Berberine chloride | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 25.59%
Berberine chloride | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1140-24 | 2016-10-13 | 12 | Berberine chloride | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 10.69%
Bisphenol AF | 10 | 0 | 0 | 6 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 10 | 0 | 0 | 59.833 | 64.865 | 108.334 | 0 | 80.7%
Bisphenol AF | 20 | 0 | 0 | 0 | 0 | 7 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 20 | 0 | 0 | 0 | 0 | 32.107 | 0 | 38.84%
Bisphenol AF | 0 | 0 | 1 | 6 | 8 | 13 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 0 | 0 | 45.6 | 66.344 | 62.12 | 87.257 | 0 | 101.7%
Bisphenol AF | 0.03 | 0 | 1 | 6 | 7 | 11 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 0.03 | 0 | 36.733 | 40.867 | 23.339 | 68.639 | 0 | 92.86%
Bisphenol AF | 0.1 | 0 | 1 | 3 | 8 | 12 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 0.1 | 0 | 6.2 | 37.733 | 43.196 | 55.111 | 0 | 85.68%
Bisphenol AF | 0.3 | 0 | 2 | 6 | 11 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 0.3 | 0 | 21.467 | 57.044 | 33.501 | 66.383 | 0 | 95.61%
Bisphenol AF | 1 | 0 | 1 | 8 | 12 | 13 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 1 | 0 | 21.4 | 31.933 | 49.972 | 65.881 | 0 | 99.21%
Bisphenol AF | 3 | 0 | 2 | 7 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol AF | 3 | 0 | 13.5 | 35.533 | 40.934 | 79.803 | 0 | 104.9%
Bisphenol S | 10 | 0 | 3 | 8 | 14 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 10 | 0 | 70.422 | 52.742 | 66.414 | 68.195 | 0 | 98.34%
Bisphenol S | 20 | 0 | 2 | 10 | 14 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 20 | 0 | 8.867 | 24.893 | 49.485 | 73.943 | 0 | 91.14%
Bisphenol S | 0 | 0 | 0 | 5 | 12 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 0 | 0 | 0 | 22.253 | 38.88 | 83.671 | 0 | 90.58%
Bisphenol S | 0.03 | 0 | 0 | 6 | 11 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 0.03 | 0 | 0 | 33.011 | 36.797 | 66.521 | 0 | 90.67%
Bisphenol S | 0.1 | 0 | 0 | 3 | 13 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 0.1 | 0 | 0 | 60.067 | 31.755 | 101.163 | 0 | 79.32%
Bisphenol S | 0.3 | 0 | 1 | 7 | 11 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 0.3 | 0 | 8.533 | 33.61 | 56.928 | 73.314 | 0 | 92.59%
Bisphenol S | 1 | 0 | 0 | 6 | 10 | 13 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 1 | 0 | 0 | 20.411 | 48.18 | 117.69 | 0 | 89.27%
Bisphenol S | 3 | 0 | 2 | 4 | 12 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Bisphenol S | 3 | 0 | 21.033 | 22.517 | 46.103 | 90.752 | 0 | 100.9%
Captan | 10 | 0 | 1 | 10 | 14 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 10 | 0 | 31.467 | 34.127 | 66.97 | 122.372 | 0 | 85.18%
Captan | 20 | 0 | 0 | 5 | 8 | 12 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 20 | 0 | 0 | 70.293 | 40.086 | 95 | 0 | 55%
Captan | 0 | 0 | 4 | 8 | 11 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 0 | 0 | 84.55 | 67.233 | 49.405 | 59.401 | 0 | 102.5%
Captan | 0.03 | 0 | 2 | 6 | 10 | 13 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 0.03 | 0 | 19.667 | 21.222 | 37.297 | 87.026 | 0 | 96.06%
Captan | 0.1 | 0 | 3 | 9 | 13 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 0.1 | 0 | 7.2 | 57.622 | 49.372 | 87.636 | 0 | 85.72%
Captan | 0.3 | 0 | 0 | 3 | 5 | 9 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 0.3 | 0 | 0 | 16.667 | 30.971 | 68.79 | 0 | 85.78%
Captan | 1 | 0 | 1 | 7 | 10 | 10 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 1 | 0 | 5.2 | 31.657 | 49.43 | 58.788 | 0 | 98.58%
Captan | 3 | 0 | 0 | 7 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Captan | 3 | 0 | 0 | 21.41 | 57.256 | 46.003 | 0 | 107.9%
Di(2-ethylhexyl) phthalate | 10 | 0 | 1 | 5 | 14 | 15 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 10 | 0 | 7.2 | 14.707 | 52.545 | 57.834 | 0 | 99.42%
Di(2-ethylhexyl) phthalate | 20 | 0 | 3 | 7 | 10 | 12 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 20 | 0 | 12.133 | 12.629 | 38.361 | 31.565 | 0 | 98.3%
Di(2-ethylhexyl) phthalate | 0 | 0 | 1 | 7 | 16 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 0 | 0 | 9 | 23.743 | 64.128 | 72.232 | 0 | 119.5%
Di(2-ethylhexyl) phthalate | 0.03 | 0 | 1 | 10 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 0.03 | 0 | 13.267 | 29.54 | 83.552 | 62.872 | 0 | 102.1%
Di(2-ethylhexyl) phthalate | 0.1 | 0 | 3 | 7 | 13 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 0.1 | 0 | 14.822 | 35.533 | 57.672 | 72.024 | 0 | 92.31%
Di(2-ethylhexyl) phthalate | 0.3 | 0 | 0 | 5 | 14 | 14 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 0.3 | 0 | 0 | 28.653 | 47.48 | 81.048 | 0 | 93.59%
Di(2-ethylhexyl) phthalate | 1 | 0 | 4 | 11 | 15 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 1 | 0 | 26.95 | 16.606 | 51.561 | 77.676 | 0 | 105%
Di(2-ethylhexyl) phthalate | 3 | 0 | 0 | 3 | 14 | 16 | 0 | 1140-24 | 2016-10-13 | 12 | Di(2-ethylhexyl) phthalate | 3 | 0 | 0 | 21.289 | 37.393 | 38.228 | 0 | 109.2%